Guide Specification - SECTION 08 51 13   ALUMINUM WINDOWS

WAUSAU HX32-XLT SERIES Single-Hung and Fixed

Developed and tested as EFCO Series HX-32 XTherm™

[NOTE: Instructional and advisory language in grey italic font.]

###### PART 1 GENERAL

- Work Included

- Furnish and install aluminum architectural windows complete with hardware and related components as shown on drawings and specified in this section.

- All windows shall be Wausau® Series HX32-XLT Thermal AW-PG50-H Single Hung. Other manufacturers requesting approval to bid their product as an equal must submit the following information fifteen days prior to close of bidding.

- A sample window, 24" (610 mm) x 36" (914 mm) single unit, as per requirements of architect.

- Test reports documenting compliance with requirements of Section 1.05.

NOTE: Specify glass and glazing in this section if window assemblies are to be glazed by the window manufacturer. If glazing is to be done by a different contractor, glass and glazing should be specified in Section 08 81 00. Wausau recommends that the window manufacturer perform the glazing.

- Glass and Glazing

1.	All units shall be factory glazed.

OR

1.	Reference Section 08 81 00 for Glass and Glazing.

- Single Source Requirement

- All products listed in Section 1.02 shall be by the same manufacturer.

NOTE: List work and materials related to this section but specified in other sections. Wausau recommends that one manufacturer furnish all applicable Division 8 products to ensure consistent product quality and compatibility.

- Related Work

A.	Section 08 32 13 – Sliding Aluminum – Framed Glass Doors

B.	Section 08 41 13 – Aluminum – Framed Entrances and Storefronts

C.	Section 08 44 13 – Glazed Aluminum Curtain Walls

D.	Section 08 44 33 – Sloped Glazing Assemblies

E.	Section 10 71 13 – Exterior Sun Control Devices

- Items Furnished but Not Installed

- Items Installed but Not Furnished

- Laboratory Testing and Performance Requirements

- Test Units

- Air, water, and structural test unit shall conform to requirements set forth in AAMA/WDMA/CSA 101/I.S.2/A440-17 and manufacturer's standard locking/operating hardware and insulated glazing configuration.

- Thermal test unit sizes shall be 47" (1194 mm) x 59" (1499 mm). Unit shall consist of a single hung window.

- Test Procedures and Performances

- Windows shall conform to all AAMA/WDMA/CSA 101/I.S.2/A440-17 requirements for the window type referenced in 1.01.B.  In addition, the following specific performance requirements shall be met.

- Air Infiltration Test

    - With window sash closed and locked, test unit in accordance with ASTM E 283 at a static air pressure difference of 6.27 psf (300 Pa).

    - Air infiltration shall not exceed 0.3 cfm/SF (1.16 l/s•m²) of unit.

- Water Resistance Test

- With window sash closed and locked, test unit in accordance with ASTM E 331/ASTM E 547 at a static air pressure difference of 10.0 psf (479 Pa).

- There shall be no uncontrolled water leakage.

- Uniform Load Deflection Test

- With window sash closed and locked, test unit in accordance with ASTM E 330 at a static air pressure difference of 60.0 psf (2880 Pa), positive and negative pressure.

- No member shall deflect over L/175 of its span.

- Uniform Load Structural Test

    - With window sash closed and locked, test unit in accordance with ASTM E 330 at a static air pressure difference of 90.0 psf (4320 Pa), both positive and negative.

    - At conclusion of test there shall be no glass breakage, permanent damage to fasteners, hardware parts, support arms or actuating mechanisms, nor any other damage that would cause the window to be inoperable.

- Forced Entry Resistance

a.	Windows shall be tested in accordance to ASTM F 588 or AAMA 1302.5 and meet the requirements of performance level 40.

7.	Condensation Resistance Test (CRF)

        - Test unit in accordance with AAMA 1503.1.

        - Condensation Resistance Factor (CRF) shall not be less than ___ (frame) when glazed with ___ center of glass U-Factor. (See chart at end of section).

8.	Condensation Resistance (CR)

a.	With ventilators closed and locked, test unit in accordance with NFRC 500-2010.

b.	Condensation Resistance (CR) shall not be less than ___ when glazed with ___ center of glass U-Factor. (See chart at end of section).

9.	Thermal Transmittance Test (Conductive U-Factor)

            - With ventilators closed and locked, test unit in accordance with NFRC 100-2010.

            - Conductive thermal transmittance (U-Factor) shall not be more than ___ BTU/hr•ft2•°F
( ___ W/m²•K) when glazed with ___ center of glass U-Factor. (See chart at end of section).

| Glass Comparison Chart |  |  |  |  |
| --- | --- | --- | --- | --- |
| Glass | C.O.G.2 U-Factor | U-Factor1 | Frame CRF3 | CR1 |
| 1” IG | 0.48 | .54 BTU/hr•ft²•ºF (3.07 W/m²•K) | 66 | 48 |
| 1” IG | 0.29 | .41 BTU/hr•ft²•ºF (2.33 W/m²•K) | 66 | 52 |
| 1” IG | 0.24 | .38 BTU/hr•ft²•ºF (2.15 W/m²•K) | 66 | 52 |

*Please consult Wausau Product Tech Support department for values.

1U-Factor and Condensation Resistance (CR) are based on a nominal size of 47" (1200 mm) x 59" (1500 mm) with two lites of glass using NFRC-100, and 500 - 2010.  2Intercept® Spacer.  3Based on AAMA 1503.1

C.	Project Wind Loads

NOTE Architect to specify design wind pressure, both positive and negative required by the governing building code, as calculated from ANSI A58.1, or as determined by boundary layer wind tunnel testing. Use 20.0 psf (958 Pa) as minimum.

1.	The system shall be designed to withstand the following loads normal to the plane of the wall:

a.	Positive pressure of ____ psf ( ____ Pa) at non-corner zones.

b.	Negative pressure of ____ psf ( ____ Pa) at non-corner zones.

c.	Negative pressure of ____ psf ( ____ Pa) at corner zones.

1.06	Field Testing and Performance Requirements

NOTE: Insert at discretion of specifier.

- Windows shall be field tested in accordance with AAMA 502, “Voluntary Specification for Field Testing of Windows and Sliding Glass Doors,” using Test Method ___.

NOTE: Insert A or B for test method. Test Method A will be used unless Test Method B is selected here. AAMA 502 specifies air infiltration and water resistance field testing for three (3) windows immediately after installation begins. Default performance values for air infiltration and water penetration can also be specified. Any of the following optional paragraphs may be added to modify the standard specification; however, consideration should be given to the cost of additional testing.

1.	Test one additional window or two percent of the window installation, whichever is greater, for air infiltration and water penetration as specified.

2.	Cost for all successful tests, both original and retest shall be paid by the owner.  All unsuccessful tests, both original and retest, shall be paid by the responsible contractor.

3.	Testing shall be by an AAMA accredited testing agency selected by the architect and window manufacturer and employed by the responsible contractor.

4.	Air infiltration field tests shall be conducted at the same uniform static test pressure as the laboratory test unit.  The Maximum allowable rate of air leakage shall not exceed 1.5 times the laboratory test unit for hardware and glazing types consistent with the laboratory test unit.  Performance values may be reduced due to deviations from the laboratory test unit such as product size, configuration, hardware selected, and glazing configuration.  The field test air leakage rate shall not exceed 1.5 times the maximum allowable laboratory performance specified in the testing criteria listed in Section 1.05.A.1 for any configuration.

5.	Water penetration field tests shall be conducted at a static test pressure of 2/3 of the laboratory test performance values for hardware and glazing types consistent with the laboratory test unit.  Performance values may be reduced due to deviations from the laboratory test unit such as product size, configuration, hardware selected, and glazing variations.  The field test water test pressure shall not be less than 2/3 of the minimum allowable laboratory performance specified in the testing criteria listed in Section 1.05.A.1 for any configuration.

1.07	Quality Assurance

- Provide test reports from AAMA accredited laboratories certifying the performance as specified in 1.05.

- Test reports shall be accompanied by the window manufacturer’s letter of certification, stating the tested window meets or exceeds the referenced criteria for the appropriate window type.

1.08	References

1.09	Submittals

- Contractor shall submit shop drawings; finish samples, test reports, and warranties.

  - Samples of materials as may be requested without cost to owner, i.e., metal, glass, fasteners, anchors, frame sections, mullion section, corner section, etc.

B.	An NFRC Component Modeling Approach (CMA) generated label certificate shall be provided by the manufacturer. The label certificate shall be project specific and will contain the thermal performance ratings of the manufacturer’s framing combined with the specified glass, and the glass spacer used in the fabrication of the glass, at NFRC standard test size as defined in table 4-3 in NFRC 100-2010.

1.10	Warranties

- Aluminum Window Warranty

  - Products:  Submit a written warranty, executed by the window manufacturer, for a period of ___ (up to 10) years from the date of manufacture, against defective materials or workmanship, including substantial non-compliance with applicable specification requirements and industry standards, which result in premature failure of the windows, finish, factory-glazed glass, or parts, outside of normal wear.

[NOTE: Refer to the WAUSAU Standard Limited Warranty for detailed exclusions, qualifications and limitations. Screens and balances are warranted for one year.]

  - In the event that windows or components are found defective, manufacturer will repair or provide replacement material without charge at manufacturer’s option.

  - Warranty for all components must be direct from the manufacturer (non pass-through) and non pro-rated for the entire term.  Warranty must be assignable to the non-residential owner, and transferable to subsequent owners through its length.

PART 2 PRODUCTS

- Materials

- Aluminum

- Extruded aluminum shall be 6063-T6 alloy and tempered.

- Hardware

      - Sweep latches shall be of die cast metal with a painted finish.

NOTE: Insert if optional sill spring catch is required.

- An optional extruded aluminum spring catch shall be provided at the sill of the lower sash.

- Windows with spring latches shall also have standard sweep latches at the meeting rail.

- Balances

NOTE: Insert for Class 1, Block & Tackle

- Balances shall be of appropriate size and capacity to hold sash in position in accordance with AAMA 101, Section 2.2.1.3.2, and AAMA 902, Section 8.1.

- Balances shall be tested in accordance with AAMA 902, “Voluntary Specification for Sash Balances”.

- Balances shall meet all minimum AAMA 902 Class 1 requirements with a minimum .70 Manually Applied Force ratio (MAF).

OR

NOTE: Insert for Class 5, High Performance

- Balances shall be of appropriate size and capacity to hold sash in position in accordance with AAMA 101, Section 2.2.1.3.2, and AAMA 902, Section 8.1.

- Balances shall be high performance sash balances that are tested in accordance with AAMA 902 “Voluntary Specification for Sash Balances”.

- Balances shall meet all minimum AAMA 902 Class 5 requirements with a minimum .30 Manually Applied Force ratio (MAF).

- Balances shall be attached to a locking carrier system that slides in the jamb channel.  Sash shall be field removable for installation and maintenance.  Mounting brackets that are screw attached to the sash will not be allowed.

- Weather-Strip

- All primary weather-strip shall be FIN-SEAL® or equal.

NOTE: Wausau recommends that the window manufacturer furnish and factory glaze the glass as specified by the architect. For this reason, it is desirable that Glass and Glazing be made part of this section.

- Glass

- Insulated glass shall be 1” thick with a center of glass U-Factor of ___ constructed as follows:

a.	Exterior lite - ___ thick, ___ color, ___ glass (annealed, H.S. Temp), 
with a surface coating of ___ on the number ___ (1 or 2) surface.

b.	Air space of ___ inch (or argon filled).

c.	Interior lite - ___ thick, ___ color, ___ glass (annealed, H.S. Temp), 
with a surface coating of ___ on the number ___ (3 or 4) surface.

- Thermal Barrier

- All exterior aluminum shall be separated from interior aluminum by a rigid, structural thermal barrier.  For purposes of this specification, a structural thermal barrier is defined as a system that shall transfer shear during bending and, therefore, promote composite action between the exterior and interior extrusions.

- The thermal barrier shall be thermal struts, consisting of glass reinforced polyamide nylon, mechanically crimped in raceways extruded in the exterior and interior extrusions.

- Poured and de-bridged urethane thermal barriers shall not be permitted.

- Fabrication

- General

- All aluminum frame and vent extrusions shall have a minimum wall thickness of .062” 
(1.5 mm).

- Mechanical fasteners, welded components, and hardware items shall not bridge thermal barriers. Thermal barriers shall align at all frame and vent corners.

- Depth of frame shall not be less than 3 1/4” (82 mm).

- Frame

- Frame components shall be mechanically fastened.

- Sash

      - All sash extrusions shall have a minimum wall thickness of .062” (1.5 mm).

      - All horizontal sash extrusions shall be tubular.

      - Corner connections shall be mechanically fastened.

NOTE: Insert for windows requiring screens.

- Screens

1.	Screen frames shall be extruded aluminum.

- Screen mesh shall be aluminum or fiberglass.

- Glazing

      - All units shall be glazed with the manufacturer's standard sealant process provided the glass is held in place by a removable, extruded aluminum, glazing bead.  The glazing bead must be isolated from the glazing material by a gasket.

      - All units shall be glazed with a minimum of 1/2” glass bite.

NOTE: Geographic location and color selection determine chemistry formulation. Not all Colors are available in every Chemistry. Please consult with manufacturer prior to specification to ensure efficacy of proposed finish.

  - Finishes

- Anodic

a. 	Finish all exposed areas of aluminum windows and components with electrolytically- deposited color in accordance with Aluminum Association Designation.

2.   Organic

- Liquid Fluoropolymer Aluminum Extrusion Coatings, AAMA 2605-20:  Minimum 70 percent PVDF resin by weight, in color coat [and clear topcoat, if required]. Color as selected from one of the following:

- Ultrapon Color Card

- Sherwin-Williams Coil Coatings Fluropon Color Card – [Fluropon] [Fluropon Classic] [Fluropon Classic II] [Fluropon Premiere]

- Sherwin-Williams Coil Coatings Metal Trends Color Card - Sherwin-Williams Coil Coatings Fluropon Color Card – [Fluropon] [Fluropon Classic] [Fluropon Classic II] [Fluropon Premiere]

PART 3 EXECUTION

- Inspection

- Job Conditions

- Verify that openings are dimensionally within allowable tolerances, plumb, level, clean, provide a solid anchoring surface, and are in accordance with approved shop drawings.

NOTE: Insert at discretion of specifier

2.	Provide for manufacturer representation to conduct pre-installation site meeting.

- Installation

- Use only skilled tradesmen with work done in accordance with approved shop drawings and specifications.

- Plumb and align window faces in a single plane for each wall plane, and erect windows and materials square and true. Adequately anchor to maintain positions permanently when subjected to normal thermal movement, specified building movement, and specified wind loads.

- Adjust windows for proper operation after installation.

- Furnish and apply sealants to provide a weather tight installation at all joints and intersections and at opening perimeters. Wipe off excess material and leave all exposed surfaces and joints clean and smooth.

3.03	Anchorage

  - Adequately anchor to maintain positions permanently when subjected to normal thermal movement, specified building movement, and specified wind loads.

- Protection and Cleaning

- After completion of window installation, windows shall be inspected, adjusted, put into working order and left clean, free of labels, dirt, etc. Protection from this point shall be the responsibility of the general contractor.

- A bi-annual sweet water rinse is recommended to prohibit dirt, dust, and debris from

accumulation on the surface of the coating and to help maintain the aesthetic of the coating.

[DISCLAIMER:  Wausau Window and Wall Systems takes no responsibility for product selection or application, including, but not limited to, compliance with building codes, safety codes, laws, merchantability or fitness for a particular purpose; and further disclaims all liability for the use, in whole or in part, of these Guide Specifications in preparation of project specifications and/or other documents.  Guide Specifications are subject to change at any time, without notice, and at Wausau’s sole discretion.]

“XTherm” and “Ultrapon” are trademarks of EFCO, LLC. All rights reserved. ©2022 Apogee Wausau Group, Inc.