Guide Specification - SECTION 08 11 16  ALUMINUM DOORS and FRAMES

WAUSAU TD-4250i SERIES SINGLE LEAF or FRENCH In- or Out-swing Terrace Doors

[NOTE: Instructional and advisory language in grey italic font.]

PART 1 GENERAL

  - SUMMARY

- Section Includes:

  - All exterior Architectural Performance Class (AW) architectural terrace doors furnished and installed as shown on drawings, specified in this section and designated in AAMA/WDMA/CSA 101/I.S.2/A440-05 North American Fenestration Standard (NAFS-2005).

  - All labor, materials, tools, equipment and services needed to furnish and install AW Class terrace doors.

  - Components furnished with installed terrace doors.

  - Installation accessories furnished and installed.

  - REFERENCES

- Refer to NAFS-2005 for a complete list of references and industry standards.

1.03 SYSTEM DESCRIPTION AND PERFORMANCE REQUIREMENTS

A. 	 Design Wind Loads - Allowable Stress Design (ASD)

  - The design wind pressure for the project will be:  (Specify)

    - ___ psf positive and negative; ___ psf negative at corner zones

    - Per wind pressure diagram, (or)

    - Per local building codes

[NOTE: Determination of Design Load(s) is the sole responsibility of the building's Engineer of Record, considering Code interpretation issues and/or prescriptive requirements not included in Contract Documents.  WAUSAU is not responsible for determining Design Loads and strongly recommends that ASD Design Loads (in psf or Pa) specific to all relevant areas of the building be provided by the Specifier.]

All structural components, including meeting rails, mullions and anchors shall be designed accordingly, complying with deflection and stress requirements of Paragraph 1.03.B.

- Air, Water and Structural Performance Requirements

  - When tested in accordance with cited test procedures, architectural terrace doors shall meet or exceed the following performance criteria, as well as the air, water and structural requirements of NAFS-2005 for Architectural AW Performance Class terrace doors, Performance Grade 60 (AW60) for single leaf doors, and Performance Grade 50 (AW50) for French doors, unless otherwise noted herein.

    - Test units shall not be smaller in either width or height than the “Gateway Test Size” specified in NAFS-2005 for AW Performance Class.

    - “Downsize” testing to meet Optional Performance Class requirements specified herein shall not be permitted.

    - Test units shall employ manufacturer’s standard sealing, lock spacing and anchorage.

  - Air Test Performance Requirements

    - Air infiltration maximum 0.1 cfm per square foot at 6.24 psf pressure differential when tested in accord with ASTM E283.

  - Water Test Performance Requirements – Standard Sill Height - In-Swing or Out-swing Doors

    - No uncontrolled water leakage at  15.00 psf static pressure differential for single leaf doors, or 12.00 psf static pressure differential for French doors, with water application rate of 5 gallons/hr/sq ft when tested in accord with ASTM E331.

  - Water Test Performance Requirements – Out-swing Doors with Improved Access Sills (Optional)

    - No uncontrolled water leakage at  12.00 psf static pressure differential for single leaf doors, or 10.00 psf static pressure differential for French doors, with water application rate of 5 gallons/hr/sq ft when tested in accord with ASTM E331.

  - Water Test Performance Requirements – In-swing Doors with Improved Access Sills (Optional)

    - No uncontrolled water leakage at  8.00 psf static pressure differential for single leaf or French doors, with water application rate of 5 gallons/hr/sq ft when tested in accord with ASTM E331.

[NOTE: With careful installation and proper gasket compression adjustments, new terrace doors with improved access sills will perform dependably as specified above. Normal use and wear over time, as well as balcony settlement may adversely affect air and water performance of doors fitted with improved access sills.]

  - Forced Entry Resistance:

    - No entry shall be gained when a test load of 300 lbf is applied, as tested in accord with AAMA 1304.

  - Structural Test Performance Requirements

    - Uniform Load Deflection Test

      - No deflection of any unsupported span L of test unit (framing rails, muntins, mullions, etc.) in excess of L/175 at both a positive and negative load of 60 psf for single leaf doors, and 50 psf for French doors (design test pressure) when tested in accord with ASTM E330.

    - Uniform Load Structural Test

      - Unit to be tested at 1.5 x design test pressure, both positive and negative, acting normal to plane of wall in accord with ASTM E330.

      - No glass breakage; permanent damage to fasteners, hardware parts, or anchors; damage to make terrace doors inoperable; or permanent deformation of any main frame or ventilator member in excess of 0.2% of its clear span.

- Life Cycle Testing

  - When tested in accordance with AAMA 910-93, there is to be no damage to fasteners, hardware parts, support arms, activating mechanisms or any other damage that would cause the window to be inoperable at the conclusion of testing.

    - Air infiltration and water resistance tests shall meet the primary performance requirements specified after completion of 2500 operational cycles and misuse testing.

- Condensation Resistance and Thermal Transmittance Performance Requirements

(Wausau recommends specifying U-Factor and SHGC requirements by citing the values used in the default, prescriptive or performance compliance path option employed during permitting. Performance of specific frame-glass combinations in this Wausau product family can be obtained from the NFRC Certified Products Directory, an NFRC CMA Bid Certificate, or an AAMA 507 report. Coordinate with 08 80 00 Glazing.)

  - Perform thermal tests in accordance with NFRC 102 and/or AAMA 1503, or provide finite element computer thermal modeling and calculations per NFRC 100, NFRC 705 or AAMA 507, using DOE/LBL THERM, WINDOW, and/or CMAST software.

    - Thermal Transmittance (U-Factor) for the overall window area shall be less than or equal to _____ BTU/hr-ft2-F.

    - Solar Heat Gain Coefficient (SHGC) for the overall window area shall not exceed ____.

    - Condensation Resistance Factor (CRF) requirements:  CRF minimum ___ (Frame) and CRF minimum ___ (Glass).

(Visit www.aamanet.org to access the AAMA online CRF Selection Tool. CRF varies with configuration, frame depth, and glass type.  Contact WAUSAU for CRF test data on specific frame-glass combinations in this product family.)

[DISCLAIMER:  Condensation on interior surfaces of installed windows may be affected by many variables, including, but not limited to, component thermal performance, thermal mass of surrounding materials, interior trim coverage and air flow conditions, weather and mechanical system design.  Since many of these variables are outside of our control, WAUSAU makes no representations or warranties against the formation of condensation. Testing is conducted on pre-defined configurations under controlled and steady-state laboratory conditions, as specified above.]

- Acoustic Performance Requirements

  - Perform acoustical tests in accordance with ASTM E90 and ASTM E1425 on the glass type(s) specified in 08 80 00, rigidly supported in aluminum framing of the projected window product family.

  - “Glass-only” test results shall not be acceptable.

  - Sound Transmission Class (STC) shall not be less than ___. (Specify STC 31 for 1” insulating glass with makeup of ¼” glass – ½” air space – ¼” glass. Coordinate with 08 80 00 Glazing.)

  - Outdoor-Indoor Transmission Class (OITC) shall not be less than  ____. (Specify OITC 25 for 1” insulating glass with makeup of ¼” glass – ½” air space – ¼” glass. Coordinate with 08 80 00 Glazing.)

- Sustainable Design Requirements

  - The products provided under this section may affect LEED® certification for the project.  Provide documentation in accordance with the applicable version of USGBC’s “LEED® for New Construction and Major Renovation,” verifying that the components, processes and/or assemblies specified herein conform to the following requirements.  (Select only those Credits needed for the level of certification sought. Modify criteria as necessary for other LEED® programs or versions applicable to specific projects.)

    - EA  Optimize Energy Performance

      - Area-weighted overall U-Factor not to exceed that specified in 1.03.

      - Area-weighted center-of-glass or overall SHGC less than or equal to that specified in 1.03.

    - MR  Recycled Content

      - Provide terrace door assemblies (aluminum framing, glass and other components) containing no less than ___% (Specify up to 15%) combined recycled content by assembly weight.

      - Combined content to be calculated as post-consumer plus one-half pre-consumer recycled content by weight.

      - Report pre- and post-consumer recycled content separately.

      - All recycled secondary aluminum billet must meet Aluminum Association content requirements for the alloy used.

[NOTE: Secondary aluminum billet contains a high percentage of pre-consumer recycled content, however, glass comprises the majority of the weight of a glazed terrace door assembly.]

    - EQ  Increased Ventilation

      - Provide operable terrace doors with occupant-enabled hardware.

      - Terrace door sizes and configurations as shown on drawings.

    - EQ  Low-Emitting Materials – Adhesives and Sealants

      - All interior primers, structural glazing adhesives and metal-to-metal sealants used on site must meet applicable South Coast Air Quality Management District (SCAQMD) Rule #1168 VOC limits.

    - EQ  Controllability of Systems

      - Provide terrace doors with occupant-enabled hardware.

      - Terrace door sizes and configurations as shown on drawings.

    - EQ  Thermal Comfort- Design

      - Provide thermal barrier framing and insulating glass edge construction as specified herein and in 08 80 00 Glazing.

    - EQ  Daylight and Views

      - Area-weighted overall VT not less than 0.____ (Specify – Coordinate with 08 80 00 Glazing) per NFRC 200.

      - Terrace door sizes and configurations as shown on drawings.

  - SUBMITTALS

- General Requirements

  - Provide all submittals in a timely manner to meet the required construction completion schedule.

- Shop Drawings

  - Shop drawings must be prepared wholly by the terrace door manufacturer, or a qualified engineering services firm under the guidance of the manufacturer.  Shop drawings for pre-engineered configurations may be prepared by installers upon written consent of the manufacturer.

  - Provide design details along with bid proposals to define system aesthetic and functional characteristics.

  - Provide up to three photocopied sets of shop drawings, including half size details of all necessary conditions.

- Samples

  - Components:  Submit samples of anchors, fasteners, hardware, assembled corner sections and other materials and components as requested by Architect.

  - Finish:  Submit color samples for Architect's approval as requested.

- Test Reports and Calculations

  - Submit certified independent laboratory test reports verifying compliance with all test requirements of 1.03.

  - Submit structural calculations indicating adequacy of all materials furnished under this section, to meet the uniform and structural load requirements as specified in 1.03.

  - QUALITY ASSURANCE

- Qualifications:  Upon request, the terrace door manufacturer shall provide written consent for the installation subcontractor to install terrace door products to be used on this project.

- In-Plant Testing:  Conduct detailed quality audits and ASTM E331 static water infiltration testing on a minimum of 4% of factory-glazed terrace doors prior to shipping, subject to reasonable unit size restrictions.

  - Each tested unit shall be identified with a removable sticker on the inside glass face.

  - Provide detailed documentation of in-plant testing upon request.

  - DELIVERY, STORAGE AND HANDLING

- Packing, Shipping, Handling and Unloading

  - Materials will be packed, loaded, shipped, unloaded, stored and protected in accordance with AAMA CW-10.

  - WARRANTY

- Aluminum Window Warranty

  - Products:  Submit a written warranty, executed by the terrace door manufacturer, for a period of ___ (up to 10) years from the date of manufacture, against defective materials or workmanship, including substantial non-compliance with applicable specification requirements and industry standards, which result in premature failure of the terrace doors, finish, factory-glazed glass, or parts, outside of normal wear.

[NOTE: Refer to the WAUSAU Standard Limited Warranty for detailed exclusions, qualifications and limitations. Screens and balances are warranted for one year.]

  - In the event that terrace doors or components are found defective, manufacturer will repair or provide replacement material without charge at manufacturer’s option.

  - Warranty for all components must be direct from the manufacturer (non pass-through) and non pro-rated for the entire term.  Warranty must be assignable to the non-residential owner, and transferable to subsequent owners through its length.

PART 2 PRODUCTS

2.01 MANUFACTURERS

- Acceptable Manufacturer

  - Drawings and specification are based on:

    - Wausau Window and Wall Systems – TD-4250i Series In-Swing and Out-Swing Terrace Doors.

      - Base bid will be Wausau Window and Wall Systems.

  - Substitutions

    - Other manufacturers’ products that meet or exceed specified design requirements may be considered.  Submit the following information with request for substitutions at least ten (10) working days prior to bid date.

      - Test reports specified in 1.03.

      - Full proposal details and samples specified in 1.04.

      - Copy of manufacturer's warranty specified in 1.07.

      - Proof of at least 3 years experience in the design and fabrication of AW Performance Class terrace doors.

      - Other information as requested for evaluation

  - Substitute products not pre-approved by the Architect via addenda will not be considered.

  - Clear preference will be given to products produced in LEED®-certified manufacturing  facilities.

2.02 MATERIALS

- Aluminum Framing Members

  - Extruded aluminum billet, 6063-T6 alloy for primary non-radius components; 6063-T6 or 6061-T6 for anchor components; all meeting the requirements of ASTM B221.

  - Aluminum sheet alloy 5005-H32 (for anodic finishing), or alloy 3003-H14 (for painted or unfinished sheet) meeting the requirements of ASTM B209.

  - Principal terrace door frame and door stile members will be a minimum 0.125" in thickness at glazing legs, hardware mounting webs and section flanges.

  - Extruded or formed trim components will be a minimum 0.060" in thickness.

  - Minimum frame depth front to back 4 ½ ".  Door leaf depth front to back 2 ¾” minimum.

    - Sill must allow for drainage to the exterior and function under both negative and positive pressure.

    - Door stiles to be tubular.

    - Frames to be designed for self-mulling (stacking), as well as incorporation of integral single-frame transom and spandrel lites.

2.03 COMPONENTS

- Hardware (Select from options as noted)

  - All steel components including attachment fasteners to be 300 Series stainless steel except as noted.

  - Extruded aluminum components 6063-T6.

  - Locking handles, bases and strikes to be die cast, aluminum, or stainless steel.

  - Thermoplastic or thermo-set plastic covers, caps, housings and other components to be injection-molded nylon, extruded PVC, or other suitable compound.

  - Hardware to be occupant-operated and include: (Select from appropriate options listed in the WAUSAU Hardware Selection Guide: Stainless steel dead bolts and latch bolts, roller locks, extruded strikes, stainless steel latch bolt strikes, shoot bolt locks, key cylinders, thumb turn cylinders, white, black, brass or chrome handles, concealed stainless steel door stops with friction.  Closers are recommended. Specify hardware on both the active and inactive door leaf for French doors.)

  - Closers: (Recommended)

    - Provide one LCN 4040 Series door closer or approved equal at each active leaf.

    - Standard powder coat finish on closer.

(NOTE: Regular, hold open, and parallel (project out only) closer arms available. Out-swing terrace doors without closers, utilizing only friction adjusters, bumper stops, tethers, friction butt hinges, or other means of controlling operation are not recommended.)

- Sealants

  - All sealants shall comply with applicable provisions of AAMA 800 and/or Federal Specifications FS-TT-001 and 002 Series.

  - Frame joinery sealants shall be suitable for application specified and as tested and approved by terrace door manufacturer.

- Glass

  - Provide in accordance with Section 08 80 00.

  - Sealed insulated glass shall be tested and certified in accord with ASTM E2190.

- Glazing

  - Provide in general accordance with Section 08 80 00.

  - Glazing method shall be in general accordance with the GANA Glazing Manual for specified glass type, or as approved by the glass fabricator.

- Glazing Materials

  - Setting Blocks/Edge Blocking:  Provide in sizes and locations recommended by GANA Glazing Manual. Setting blocks used in conjunction with soft-coat low-e glass shall be silicone.

  - Back-bedding tapes, expanded cellular glazing tapes, toe beads, heel beads and cap beads shall meet the requirements of applicable specifications cited in AAMA 800.

  - Glazing gaskets shall be non-shrinking, weather-resistant, and compatible with all materials in contact.

  - Structural silicone sealant where used shall meet the requirements of ASTM C1184.

  - Spacer tape in continuous contact with structural silicone shall be tested for compatibility and approved by the sealant manufacturer for the intended application.

  - Gaskets in continuous contact with structural silicone shall be extruded silicone or compatible material.

- Steel Components

  - Provide steel reinforcements as necessary to meet the performance requirements of 1.03.

  - Concealed steel anchors and reinforcing shall be factory painted after fabrication with TGIC powder coating, or rust-inhibitive primer complying with Federal Specification TT-P-645B.

- Muntins: (Optional)

  - Provide muntin grids as shown on architectural drawings.

  - Finish to match terrace door frames.

- Receptors:  (Optional)

  - Provide extruded aluminum receptors to receive terrace doors, as shown on architectural drawings.

  - Finish to match terrace door frames.

- Dual Glazed Access Panel: (Optional)

  - Hinged (lift-off) access panel (Select one)  provided with Allen locks for custodial operation.

  - Finish to match terrace door frames.

- Integral Venetian Blinds: (Optional)

  - 5/8" or 1" (Select one)  wide aluminum slat blinds. Blind color shall be _____________.  (Specify from standard color chart.)

  - Blind to be integrally mounted between the dual or triple glazing.

  - Tilt-control knob will be located on the interior face and incorporate a "slip clutch" feature.

  - Raise and lower pull cords will be located between glass for access only when glazed access panel is opened.

- Sill Kick Plate: (Optional)

  - Provide an extruded aluminum door panel intermediate framing member to accept an aluminum sheet glazed-in as a “kick plate”.  Kick plate height to be _____ inches.   (Specify)

- Improved Access Sill: (Optional)

  - Provide an extruded aluminum sill with ribbed insert where improved accessibility is required, at locations as shown on architectural drawings.

  - Water resistance shall meet the requirements for improved access sills noted in 1.03.

[DISCLAIMER:  With properly designed building conditions and correct installation, TD-4250i improved access sill component profiles will meet ADA accessibility criteria per Fair Housing Act Regulations, 24 CFR 100.205 Chapter 4, “Thresholds and Accessibility Routes at Exterior Doors”. However, Wausau Window and Wall Systems makes no claim relative to ADA, ANSI A117.1 or Fair Housing Act compliance, or lack thereof, applicable to the total terrace door installation, including but not limited to, hardware, approach area, reach, force(s), motion, etc.  It is the sole responsibility of the building's Architect or Engineer of Record to verify compliance of the total installation.  Wausau takes no responsibility for compliance, or for acceptance by authorities having jurisdiction.]

2.04 FABRICATION

- General:

  - Finish, fabricate and shop assemble frame and door stile members into complete terrace doors under the responsibility of one manufacturer.

  - No bolts, screws or fastenings shall impair independent frame movement, or bridge the thermal barrier, unless such bridging was also present in thermal test units and thermal models.

  - Fabricate to allow for thermal movement of materials when subjected to a temperature differential from -30 F exterior ambient temperature to +180 F exterior surface temperature.

- Frames:

  - Cope and mechanically fasten each corner, or miter and weld each corner; then seal weather tight.

  - Make provisions for continuity of frame joinery seals at extrusion webs.

- Door Leaves (Active and Inactive)

  - Miter all corners and mechanically stake over a solid extruded aluminum corner block, set and sealed in epoxy, leaving hairline joinery, then sealed weather tight.

  - Make provisions for continuity of door stile joinery seals at extrusion webs.

- Glass Drainage: (field glazed units only)

  - Provision shall be made to insure that water will not accumulate and remain in contact with the perimeter area of sealed insulated glass.

- Hardware:

  - Exposed Hinges

    - On each operable door panel, provide four (4) five-knuckle extruded aluminum nylon-bushed hinges with coated stainless steel pins.

    - Finish of aluminum housing shall match terrace door finish.

  - Locks

    - A concealed stainless steel latch bolt for manual operation incorporating a mishandling device, and remotely-actuated adjustable roller locks, with stainless steel or extruded aluminum strikes, shall secure each operable door panel in the closed position.

    - Adjustable locks for operable door panels shall occur at maximum 50" spacing.

    - Provide Euro-style door handles at interior and exterior of each active door leaf.

      - Handle finish shall be __________.  (Select from standard polished brass, or optional antique brass, white, black, polished or brushed chrome)

    - Provide a stainless steel dead bolt lock, actuated by an interior thumb turn cylinder, in finish to match door handles.

  - LCN 4040 series door closer.  (Optional – See notes in 2.03)

  - Astragal Rail (Optional)

    - Provide a “French door”-style astragal rail, operable with the inactive door leaf.

    - Astragal shall be fitted with concealed shoot bolt mechanism, with locks at head and sill frame.

    - (Optional) Provide a fixed “dummy” Euro-style door handle on the inactive leaf to match the appearance of the active leaf.

- Dual Glazed Access Panel (Optional)

  - Hinged (or lift-off) access panel (Select one) will be constructed with mitered corners, mechanically staked over a solid aluminum corner block leaving hairline joinery.

- Thermal Break Construction

  - Continuous extruded 6/6 polyamide nylon with 25% glass fiber reinforcing, mechanically crimped into cross-knurled cavities.

  - Minimum thermal separation ¼".

  - Quality assurance records must be maintained and available as requested.

- Weather-stripping:

  - Bulb- or fin-type neoprene, EPDM, dual-durometer PVC, polypropylene, TPE, or other suitable material as tested and approved by the window manufacturer.

  - Miter, crowd, stake or join at corners. Provide drainage to exterior as necessary.

  - Weather-stripping shall provide an effective pressure-equalization seal at the interior face of the door panel.

2.05 FINISHES

- Finish of Aluminum Components

  - Finish of all exposed areas of aluminum terrace doors and components shall be done in accord with the appropriate AAMA Voluntary Guide Specification shown (Select from below).

Designation			Description			Standard 				Color

AAM10C21A41			Clear Class I 			AAMA 611				Clear

Eco-friendly etch

AAM10C21A44			Electrolytically			AAMA 611				Champagne, Light Bronze, Medium Bronze

Deposited Class I								Dark Bronze, Extra Dark Bronze, Black					Eco-friendly etch

Interior Paint			50% PVDF,				AAMA 2603				____________ (As selected by Architect)

Enamel, Acrylic									Suitable for INTERIOR finishes

or Polyester

Exterior Paint			70% PVDF				AAMA 2605				____________ (As selected by Architect)

Suitable for INTERIOR or EXTERIOR finishes

[NOTE: For detailed specifications of other surface treatments and finishes available, as well as sustainable finishing process specification upgrades contact Linetec or Wausau Window and Wall Systems. Color selection is recommended, for the most competitive bids.]

PART 3 EXECUTION

3.01 EXAMINATION

- Site Verification of Conditions

  - Verify that building substrates permit installation of terrace doors according to the manufacturer's instructions, approved shop drawings, calculations and contract documents.

  - Do not install terrace doors until unsatisfactory conditions are corrected.

3.02 INSTALLATION

- Erection of Aluminum Terrace Doors

  - Install terrace doors with skilled workers in accordance with approved shop drawings, installation instructions, specifications, and the AAMA Commercial Window and Door Installation Manual.

  - Terrace doors must be installed plumb, square and level for proper weathering and operation.

  - Aluminum that is not organically coated shall be insulated from direct contact with steel, masonry, concrete or other dissimilar metals by bituminous paint, rust-inhibiting primer, non-conductive shims or other suitable insulating material.

[DISCLAIMER:  Wausau Window and Wall Systems takes no responsibility for product selection or application, including, but not limited to, compliance with building codes, safety codes, laws, merchantability or fitness for a particular purpose; and further disclaims all liability for the use, in whole or in part, of these Guide Specifications in preparation of project specifications and/or other documents.  Guide Specifications are subject to change at any time, without notice, and at Wausau’s sole discretion.]

©2014 Apogee Wausau Group, Inc.